## Report
Air compressor maintenance checklist
Screw and piston compressors, dryers and air receivers
Report
Report no.
Date
Start / finish time
Customer
Company
Address
Contact person, phone
Service
Service company
Technician
Machine
Compressor (make, model)
Serial number
Asset no., location
Type: ☐ screw ☐ piston ☐ scroll
Running hours total / loaded
Working pressure [bar]
Air receiver no.
Type of work: ☐ periodic inspection ☐ repair ☐ installation / commissioning ☐ diagnostics ☐ warranty repair
Checklist
No. | Check | OK | Not OK | N/A | Remarks
1 | Oil – level, condition, change
2 | Air filter
3 | Oil filter and separator
4 | Drive belts – tension and wear
5 | Condensate drain – operation
6 | Operating temperature
7 | Safety valve – condition and seal
8 | Oil and air cooler – cleanliness
9 | Compressed air system – leaks
10 | Dryer – dew point, line filters
11 | Air receiver – external condition, condensate drain
12 | Electrical connections and current draw
13
14
15
Reported issue / faults found
Work carried out
Parts and materials used |  |  |  |  | Qty
Recommendations, next inspection date
Machine fit for operation: ☐ yes ☐ no ☐ with conditions (see recommendations)
Date and technician's signature: ______________________ |  |  |  |  | Date and customer's signature: ______________
Air receivers (pressure vessels) may be subject to statutory inspection – follow the regulations in your country.
Template by Machine Manager. Fill in the same report on your phone – with photos, customer signature and a ready PDF. Free: machine-manager.com/en